| B-1 | Lighting Fixtures : |  |
| --- | --- | --- |
| 1 | Supply 200% of all kind of outside lighting lamps | 100% |
| 2 | Igniters which are installed within lighting devices | 20% each type |
| 3 | Lighting transformers | 10 % each type |
| 4 | Photocell | 4sets |
| 5 | Lamp’s holders (sockets) of each type | 10 pcs each type |
| 6 | Skid lighting ON/OFF switch | 5 pcs |
| 7 | Complete replacement parts of components used for lighting field panels | 2 complete sets |
| 8 | Globs (glasses) for external lighting, for each type | 3 sets for each type |
| B-2 | Power Distributing Panels |  |
| 1 | Complete replacement set of all fuse base used. | 1 set |
| 2 | Replacement of fuses above 63 A capacity ( set for each type). | 12 sets |
| 3 | Ditto,but30-60A. | 25 sets |
| 4 | Ditto,but1-25A. | 40 sets |
| 5 | Each type of circuit breakers and conductor used ( minimum one piece of each type). | 10% |
| 6 | Complete set of Signaling lamps for control panels. | 2 sets |
| B-3 | Diesel Generator ( Gen set) |  |
| 1 | One replacement for each printed circuit used for Gen set. | 1 set |
| B - 4 | Each type of electrical motors used ( minimum one piece of each type). | One unit |
| B-5 | Complete electric coil for fuel gas electric heated , complete replacement with gas ket | 2sets |
| B-6 | UN-INTERUBTABLE POWER SUPPLY (UPS) SYSTEM |  |
| 1 | One replacement of each type of printed circuit used | 1 each |
| 2 | Complete replacement of all components used in UPS control panels | 1 each type |
| 3 | Transistors for inverters for each type and kind | 4 sets |
| 4 | Thyristors for rectifiers of each type and kind | 6 each type |
| 5 | Fuses used of all types and kind | 10 each type |

B-  ELECTRICAL EQUIPMENT SPARE PARTS LIST