D - Mechanical spare parts list & Equipment

| Qty | ## DESCRIPTION | ## ITEM |
| --- | --- | --- |
| 20 set 20 set | A- Filter Element for each main gas filter The same for I/F Gas unit , complete set –B | 1 |
| 8 set | Gaskets for A/M filters | 2 |
| 40% 1set as min. | Complete repair kits for each type , size and class of all valves used , for three inches diameter and larger | 3 |
| 200% | Gasket and O-ring for all sizes / classes used | 4 |
| 600 kg | High pressure lubricant for valves | 5 |
| 20 set | Generator air filters | 6 |
| 20 set | Generator fuel filters | 7 |
| 20 set | Generator oil filters | 8 |
| 1 set | Generator re-building kit as per manufacturer recommendation | 9 |
| 1 each | Generator diesel/oil/water pump,battery charger,starter as complete replacements | 10 |
| 30% | Valve for each type and class of valves size less than 3 inches. as min. one valve for each type and each class should be delivered | 11 |
| 2 set | inlet air filter element set for each turbine | 12 |
| 10 set | Enclosure filter element set for each turbine | 13 |
| 24 set | Lube oil filter element | 14 |
| 200% | Lube oil for each turbine and compressor | 15 |
| 1 set | One complete coupling assy. For each type of couplings. | 16 |
| 1 set | One complete pump assy. For each type of pumps | 17 |
| 1 set | One complete hydraulic motor for each type of hydraulic motors | 18 |
| 1 set | # One rotor assy.For gas compressors | 19 |
| 1 set | # One suction bearing and seal assy. For gas compressors | 20 |
| 1 set | # One discharge bearing and seal assy. For gas compressors | 21 |
| 1 set | # Mechanical seal for drive end for one compressor | 22 |
| 1 set | # Mechanical seal for non drive end for one compressor | 23 |
| 1 set | # One major repair kit for each gear box | 24 |
| 12 piece from each | Pipe fitting connected directly to the body of the compressor unit | 25 |
| 2 set | Pneumatic high pressure grease gun | 26 |
| 2 set | Manual operated high pressure grease gun | 27 |